TMT-3:  Equipment Data Searching

FACILITIES INFORMATION RESOURCES

Two-Minute-Tutorials Series

Prerequisite Training:  TMT-1:  Drawing Searching 101

- Find the project that installed the equipment, the equipment tag, and the design info.

Ways to find your project:

  - Building Addition Cheat Sheet.

  - OMA Fan Maps, for larger fans/AHUs (Building / “Drawings-Current” folder)

  - Drawing Index – browse for projects in your area.
(Don’t forget the Infrastructure Index, and Active Projects folder.)

- Using the project info and equipment tag, find data in one or more of several places:

  - Project Submittals

    - O&Ms 					(scanned or on O&M shelves)

    - Test & Balance Reports (TABs) 	(scanned or off-site*)

    - Construction review submittals	(scanned or off-site*)

  - Mechanical Inspection Reports		(scanned)

  - RCx Reports					(digital only)

  - Project Manual				(scanned or on stick shelves)
(sometimes has exact equipment to be installed)

*off-site document requests are made through Beth, and take 1-3 days.

TIPS

- Work completed in the past few years could be “stuck” in J drive “02_Active_Projects” because we didn’t get record documents.

- Sometimes building equipment is installed with utility distribution projects – check the “Infrastructure Index” (column C can limit by building, but this field is NOT fully populated – also search by building name and previous names – see #1 above for previous names):  J:\04_Infrastructure_On-Campus\Infrastructure.xlsx